Design Plan Submittal

- Newnan Utilities request that the Developer/Owner/Builder/Contractor and/or Engineer discuss service needed prior to plan submittal, construction or remodel.

- All Water and sewer design shall be approved and stamped by a Professional Engineer registered in the State of Georgia who has sufficient knowledge to properly perform the design.

- The design and plan preparation of water and sanitary sewer system shall conform to Newnan Utilities specification, Notes, and Details.

- Newnan Utilities requires that all Newnan Utilities Standard Details and notes are included in Construction Plans.  These details and notes shall not be altered in any way.

- Plans shall include but not limited to water and sewer plan, sewer profiles, manholes, sewer taps, water meters, hydrants and valves.

- Plans shall be submitted to the City of Newnan, per the city standards, unless otherwise directed.

- Plan requirements for Newnan Utilities shall be comprised of the following sheets:

  - Cover Sheet

  - Site Plan

  - Grading Plans

  - Erosion Control Plans

  - Storm Water Plans

  - Water Distribution Plans

  - Sanitary Sewer System Plans

  - Sanitary Sewer System Profile Plans

  - Lift Station and Force Main Plans and Profiles (as required)

  - Landscape Plans showing utility locations (Water, Power, Sewer)

  - All Newnan Utilities notes and details.

  - Any other pertinent sheets