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Design Plan Submittal
1. Newnan Utilities request that the Developer/Owner/Builder/Contractor and/or Engineer discuss service needed prior to plan submittal, construction or remodel.
2. All Water and sewer design shall be approved and stamped by a Professional Engineer registered in the State of Georgia who has sufficient knowledge to properly perform the design.
3. The design and plan preparation of water and sanitary sewer system shall conform to Newnan Utilities specification, Notes, and Details.
4. Newnan Utilities requires that all Newnan Utilities Standard Details and notes are included in Construction Plans.  These details and notes shall not be altered in any way.
5. Plans shall include but not limited to water and sewer plan, sewer profiles, manholes, sewer taps, water meters, hydrants and valves.
6. Plans shall be submitted to the City of Newnan, per the city standards, unless otherwise directed.
7. Plan requirements for Newnan Utilities shall be comprised of the following sheets:
a. Cover Sheet
b. Site Plan
c. Grading Plans
d. Erosion Control Plans
e. Storm Water Plans
f. Water Distribution Plans
g. Sanitary Sewer System Plans
h. Sanitary Sewer System Profile Plans
i. Lift Station and Force Main Plans and Profiles (as required)
j. Landscape Plans showing utility locations (Water, Power, Sewer)
k. All Newnan Utilities notes and details.
l. Any other pertinent sheets
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